## Sheet1
[Service] Characteristic Value ¦- Descriptors | UUID | Value | Permissions | Type | Unit | M,d,b
Environmental Sensing [Service] | 0x181A | n/a | n/a
[Environmental Sensing] Temperature | 0x2A6E | HTS221 Temperature Reading | R/N | sint16 | Celsius | 1,-2,0
¦- User Description | 0x2901 | "Temperature" | R
[Environmental Sensing] Pressure | 0x2A6D | LPS22HB Pressure Reading | R/N | uint32 | Pa | 1,-1,0
¦- User Description | 0x2901 | "Pressure" | R
[Environmental Sensing] Humidity | 0x2A6F | HTS221 Humidity Reading | R/N | uint16 | Percentage | 1,-2-0
¦- User Description | 0x2901 | "Humidity" | R
Device Interfacing [Service] | 00000000-0000-0000-0001-000000000000 | n/a | n/a
[Device Interfacing] Body Temperature Minimum | 00000000-0000-0000-0001-100000000001 | Minimum Value from NTC Buffer | R/N | sint16 | Celsius | 1,-2,0
¦- User Description | 0x2901 | "Min Body Temperature" | R
[Device Interfacing] Body Temperature Average | 00000000-0000-0000-0001-100000000002 | Average Value from NTC Buffer | R/N | sint16 | Celsius | 1,-2,0
¦- User Description | 0x2901 | "Avg Body Temperature" | R
[Device Interfacing] Body Temperature Maximum | 00000000-0000-0000-0001-100000000003 | Maximum Value from NTC Buffer | R/N | sint16 | Celsius | 1,-2,0
¦- User Description | 0x2901 | "Max Body Temperature" | R
[Device Interfacing] Device Interfacing Force Minimum | 00000000-0000-0000-0001-200000000001 | Minimum Value from FSR Buffer | R/N | uint16 | Newton | 1,-2-0
¦- User Description | 0x2901 | "Min Interfacing Force" | R
[Device Interfacing] Device Interfacing Force Average | 00000000-0000-0000-0001-200000000002 | Average Value from FSR Buffer | R/N | uint16 | Newton | 1,-2-0
¦- User Description | 0x2901 | "Avg Interfacing Force" | R
[Device Interfacing] Device Interfacing Force Maximum | 00000000-0000-0000-0001-200000000003 | Maximum Value from FSR Buffer | R/N | uint16 | Newton | 1,-2-0
¦- User Description | 0x2901 | "Max Interfacing Force" | R
[Device Interfacing] ON time | 00000000-0000-0000-0001-300000000001 | Clicks from RTC since ON | R/N | uint32 | Seconds | 1,0,0
¦- User Description | 0x2901 | "Device Active Time" | R
Comfort [Service] | 00000000-0000-0000-0002-000000000000 | n/a | n/a
[Comfort] Fuzzy comfort level | 00000000-0000-0000-0002-100000000001 | Crisp Value from predictor | R/N | uint8 | Absolute | 1,0,0
¦- User Description | 0x2901 | "Fuzzy Comfort" | R